## Slide 1: 2022/10/21 Meeting
B10907034 王信舜

## Slide 2: Model Structure

## Slide 3: Pytorch U-NET for Brain MRI Example
Ref: https://pytorch.org/hub/mateuszbuda_brain-segmentation-pytorch_unet/

## Slide 4: My U-NET from paper [1]

## Slide 5: Performance Test
Condiction:
Learning Rate = 1e-2
Batch Size = 1
Number of Epochs = 20

## Slide 6: Evaluate Metrics
Average Head Dice Coefficient:
Head Dice Coefficient =
Average Head Dice Coefficient =

## Slide 7: Test Result (PyTorch UNET Example)
Adam
SGD

## Slide 8: Test Result (UNET from Paper)
Adam
SGD

## Slide 9: TorchUNET, DICE LOSS, Batch Size = 1
Average Head Dice
Single 2D Slice Dice Loss
Testset Model Output

## Slide 10: Assumption
Data Imbalance.
Dice Loss’s gradient isn’t good on False Negative.
Batch Size too small causes model stuck at local minimum.
Attempt
Try Tversky Loss, Focal Tversky Loss. [2]
Increase Batch Size.
Optimizer Adam (have momentum).

## Slide 11: My UNET, Dice Loss, Batch Size = 10
Average Head Dice
Single 2D Slice Dice Loss
Testset Model Output

## Slide 12
Test Dice: 0.57131

## Slide 13: References
[1] Olaf Ronneberger, Philipp Fischer, and Thomas Brox, U-Net: Convolutional Networks for Biomedical Image Segmentation https://arxiv.org/abs/1505.04597
[2] Shruti Jadon, A survey of loss functions for semantic segmentation https://arxiv.org/abs/2006.14822?fbclid=IwAR3ehmNzw0UKELox-ippD4gA-YGs0XRK1m5uUVxivcphJ2rnJKgafSTXH7U

## Slide 14: 2022/11/11 Meeting
B10907034 王信舜

## Slide 15: Focal Loss
Gradient of hard example
Gradient of Easy example

## Slide 16: Tversky Loss
Dice Loss

## Slide 17: Focal Tversky Loss

## Slide 19
LR= 1e-4 | Loss Functions | Evaluation Metrics |  |  |  |  |  | 
 |  | Dice Coefficient | Sensitivity | Specificity | Fpr | Fnr | PPV | NPV
Tumor Data Only | BCE Loss 1 | 0.765 | 0.914 | 0.997 | 0.002 | 0.086 | 0.610 | 0.998
 | Focal Loss (gamma=2) 8 | 0.835 | 0.942 | 0.998 | 0.002 | 0.058 | 0.703 | 0.999
 | Tversky Loss (beta=0.3) 3 | 0.652 | 0.948 | 0.993 | 0.007 | 0.052 | 0.352 | 0.999
 | Tversky Loss (beta=0.7) 4 | 0.731 | 0.912 | 0.997 | 0.003 | 0.088 | 0.479 | 0.998
 | Dice Loss 2 | 0.721 | 0.920 | 0.996 | 0.004 | 0.080 | 0.494 | 0.998
 | Focal Tversky Loss (beta=0.3, gamma=0.75) 5 | 0.723 | 0.914 | 0.996 | 0.004 | 0.086 | 0.535 | 0.998
 | Focal Tversky Loss (beta=0.7, gamma=1.33) 7 | 0.684 | 0.926 | 0.995 | 0.005 | 0.074 | 0.396 | 0.998
All Data | BCE Loss 6 | 0.782 | 0.853 | 0.999 | 0.001 | 0.147 | 0.945 | 0.997
 | Focal Loss (gamma=2) 9 | 0.792 | 0.898 | 0.998 | 0.002 | 0.102 | 0.925 | 0.998

## Slide 20: Data Augmentation
Train Set
Length = 2L
Original Train Set
Length = L
Augmented Train Set
Length = L
Augmentation

## Slide 21
水平翻轉 (機率: 0.5)
整張圖片旋轉 (±60度, 機率: 1)
縮放 (±0.5倍, 機率: 1)
像素亮度變化 (±0.2, 機率: 1)
Elastic Transform (機率: 0.8)

## Slide 22: Adam, lr=1e-4, epochs=40
LR= 1e-4 | Loss Functions | Evaluation Metrics |  |  |  |  |  | 
 |  | Dice Coefficient | Sensitivity | Specificity | Fpr | Fnr | PPV | NPV
Tumor Data Only, Augmentation | Focal Loss | 0.722 | 0.937 | 0.996 | 0.004 | 0.063 | 0.414 | 0.999

## Slide 23: 2022/12/02 Meeting
B10907034 王信舜

## Slide 24: Try 1
  Num of epochs = 50
  Learning rate = 1e-4
  Batch size = 1
  Loss function: Focal Loss(gamma=2)
  Training Set: 剩下的
  Validation Set: Patient ID 71~140
  Test Set: Patient ID 1~70

## Slide 25: Try 1

## Slide 26: Try 2
  Num of epochs= 100
  Step LR decay: 起始lr=0.01, 每25epoch下降原本之為0.1倍
  Training Set: 剩下的Data
  Validation Set: Patient ID 1~70

## Slide 27: Try 2

## Slide 28: Result
Try | Dice
1 | 0.827
2 | 0.879

## Slide 29: 2023/01/06 Meeting
B10907034 王信舜

## Slide 30: Dice 比較
Model | Unet: 24 channels, trained in Dim=128 With StepLR saved in original size | Tigerbx 1.8
Dice Score | 0.753 | 0.798

## Slide 31
Candi123 label
tigerbx
My Unet

## Slide 32: 2023/02/24 Meeting
B10907034 王信舜

## Slide 33: Generative Model

## Slide 35: Linear Transform

## Slide 36: Scaling

## Slide 37: Rotation

## Slide 38
https://www.fieldtriptoolbox.org/faq/coordsys/
160
256
256

## Slide 39: 影像非正方形變形問題
逆時針
旋轉90度

## Slide 40: 解決方法: Padding到三個維度等長(正方體)
Padding前
Padding後

## Slide 41: 3軸旋轉輸出結果
Z軸
Y軸
X軸

## Slide 42: Shear

## Slide 43: Combine Transforms

## Slide 44: Translation

## Slide 45: 加入 Translation

## Slide 46: Non-linear Deform

## Slide 48: Integrate: “Scale-and-Square” Method

## Slide 49: 看不懂

## Slide 50: 3D Result

## Slide 51: GMM Sampling

## Slide 53: Bias field

## Slide 55: Intensity augmentation

## Slide 57: Simulation of resolution variability

## Slide 60: 參數值
-0.3 0.3

## Slide 61: 輸出結果比較

## Slide 63: 訓練
First layer counts 24 feature maps Unet
Adam optimizer
Learning rate 10-4
Batch size 1

## Slide 64
Ground Truth Label
Model Output

## Slide 66: VMware虛擬機安裝Ubuntu20.4 Freesurfer

## Slide 67: 待解決問題
Non-linear deform: stationary vector field 的 Integrate
用freesurfer產生更多training data
Downsample的Gaussian Blur kernel大小不確定
用Paper給的RandomGammaTrasnform的simga出來的雜訊很大
嘗試其他model, loss